# ORDINANCE  NO.  98-2014

INTRODUCED BY:   MAYOR ANN MARIE DONEGAN

AN ORDINANCE ENACTING NEW SECTION 1612.011, “FIRE AND SMOKE DAMPER INSPECTIONS” OF THE CODIFIED ORDINANCES OF THE CITY OF OLMSTED FALLS TO PROVIDE FOR INSPECTIONS AND RECORD KEEPING FOR HEATING, VENTILATION AND AIR CONDITIONING (HVAC) FIRE AND SMOKE DAMPERS IN ALL CITY-OWNED OR LEASED STRUCTURES, AND DECLARING AN EMERGENCY

WHEREAS, The City of Olmsted Falls would like to provide inspections for Heating Ventilation Air Condition (hereinafter “HVAC”) fire and smoke dampers located within all City owned and/or leased buildings; and

WHEREAS, providing said inspections will ensure that the City is in compliance with the most up-to-date National Fire Protection Association (hereinafter “NFPA”) regulations.  Now therefore,

BE IT ORDAINED BY THE COUNCIL OF THE CITY OF OLMSTED FALLS, CUYAHOGA COUNTY, OHIO, THAT:

SECTION 1.  New Section 1612.011 of the Codified Ordinances of the City of Olmsted Falls is hereby enacted and shall read as follows:

Section 1612.011	FIRE AND SMOKE DAMPER INSPECTIONS.

- Adoption by Reference. Pursuant to Ohio R.C. 732.233, there is hereby adopted by the Municipality, for the purposes of prescribing regulations governing conditions hazardous to life and property from fire, smoke and explosion, the requirement for fire and smoke damper inspections conducted in accordance with NFPA standards sections 105.6.5.2 through 105.6.5.12 as well as sections 105.6.3 and 105.6.6 as adopted, published and recommended by the NFPA, save and except such portions as may be hereinafter deleted or amended. Said NFPA standards are incorporated in this chapter by reference as if fully set forth at length herein as it related to Fire and Smoke Damper Inspections, and such Code shall be known as the Fire Prevention Code of the Municipality.

- Regularity and Monitoring Inspections.  All fire and smoke damper units in buildings that are city owned or leased shall be inspected every four (4) years. Compliance with this inspection requirement shall be monitored by the Building Department and the Safety Director.

- Regulations Governing Inspections and Requirements for Inspections. The inspections shall be conducted in accordance with NFPA standards Sections 105.6.5.2 through 105.6.5.12 and Sections 105.6.3 and 105.6.6. The inspections shall be conducted by technicians and contractors who have been certified by the International Certification Board (hereinafter referred to as “ICB”) and American National Standards Institute (hereinafter referred to as “ANSI”) to ensure the quality of the inspection process.

- Record of Inspections and Repairs. The results of the inspections are to be given to the Building Department within thirty (30) days of the completion of the inspection. The Building Department shall keep those inspection reports until the next inspection is completed four (4) years later. If the fire and smoke damper systems are found to be faulty, repairs must be completed and approved by an ICB and ANSI certified technician and contractor with sixty (60) days from the date the system was found to be faulty.

SECTION 2. 	 The Council finds and determines that all formal actions of this Council relating to the adoption of this Resolution have been taken at open meetings of this Council; and that deliberations of this Council and of its committees, resulting in such formal action, took place in meetings open to the public, in compliance with all statutory requirements including the requirements of Section 121.22 of the Ohio Revised Code.

SECTION 3.  This Ordinance is hereby declared to be an emergency measure necessary for the immediate preservation of the health, safety and welfare of the residents of Olmsted Falls.  It shall therefore take effect immediately upon passage by the affirmative vote of not less than five (5) members elected to Council and approval by the Mayor or otherwise at the earliest time allowed by law.

Kathleen Fenderbosch, Council President

PASSED:

APPROVED:

Ann Marie Donegan, Mayor			Date

APPROVED AS TO FORM:

Gregory M. Sponseller, Director of Law

ATTEST:

Angela Mancini, Clerk of Council

First Reading:

Second Reading:

Third Reading: